## Material_Summary
Summary_ID | Category | Material | Specification | Grade | Unit | OVERALL QTY | TOTAL AMOUNT | Line_Items_Count | Source_Row_Numbers
1 | OTHERS | Mixed Materials |  |  | Each | 0 | 0 | 10 | Rows 2, 4, 5, 6, 8, 9, 16, 18, 21, 26
TOTAL | ALL CATEGORIES | PROJECT TOTAL |  |  | MIXED | 0 | 0 | 10 | All 1 groups

## Corrected_Data
id | Category | Material | Grade | Specifications | Unit | Quantity | OriginalQuantity | originalRow | Original_Row | _is_subtotal
15 | EXCAVATION_EARTHWORK | Excavated Soil |  | exceeding 1.50m in width, exceeding 10.0Sqm on plan, not exceeding 300 mm in depth | Each | 0 | N/A | Surface excavation: Excavation exceeding 1.50m in width as well as 10.0Sqm on plan, but not exceeding 300 mm in depth including disposal of excavated earth outside the site premises & lift from basement excavated level, disposed soil to be levelled & neatly dressed in all kinds of soil, as per directions of EIC . | 2 | FALSE
16 | EXCAVATION_EARTHWORK | Excavated Soil |  |  | Each | 0 | N/A | Excavation in all types of soil for Footings / rafts of columns, Retaining wall, Core walls, catch pits, Lift pits, trenches for drains, STP, UG water retaining structures etc., by mechanical means including manual excavation for levelling, dressing/trimming of excavated sides, with all leads and lifts, Dewatering of surface water, removal of slurry generated while excavation and keeping the area free of water, strutting, required for keeping excavated sides of earth in position etc., Rate to include for disposing off excess earth / unserviceable material & to be transported outside the site premises & dumped at dump yard approved by local authorities/ statutory bodies, so that EMPLOYER should not receive complaint from any local bodies/ Govt. agencies/ public in general. The rate to include loading, transporting, unloading/ dumping including the cost of mechanical transport/ labour etc. complete as directed by EIC. Note : a). Back filling for the sides of foundations/ footings/ Retaining Wall will be paid under separate relevant item of work. b). Working space & provision of slopes if required for execution shall be measured & paid as per actual width of excavation, but not exceeding width stipulated in IS 1200. DEPTH MEASURED FROM LOWER BASEMENT EXCAVATED LEVEL | 3 | FALSE
17 | EXCAVATION_EARTHWORK | Earth |  | Depth: 0.00 to 1.50 M | Each | 0 | N/A | From 0.00 to 1.50 M | 4 | FALSE
18 | EXCAVATION_EARTHWORK | Earth |  | Depth: 1.50 M to 3.00 M | Each | 0 | N/A | From 1.50 M to 3.00 M | 5 | FALSE
19 | EXCAVATION_EARTHWORK | Earth |  | Depth: 3.00 M to 6.00 M | Each | 0 | N/A | From 3.00 M to 6.00 M | 6 | FALSE
20 | EXCAVATION_EARTHWORK | Earth |  |  | Each | 0 | N/A | Same as above, but for STP, UG sump Excavation in soil | 7 | FALSE
21 | EXCAVATION_EARTHWORK | Earth |  | Depth: 0.00 to 3.00M | Each | 0 | N/A | From 0.00 to 3.00M | 8 | FALSE
22 | EXCAVATION_EARTHWORK | Earth |  | Depth: 3.00 M to 6.00 M | Each | 0 | N/A | From 3.00 M to 6.00 M | 9 | FALSE
23 | STRUCTURE_CONCRETE | PCC | SMC |  | Each | 0 | N/A | PLAIN CEMENT CONCRETE: SMC | 10 | FALSE
24 | STRUCTURE_CONCRETE | PCC | SMC |  | Each | 0 | N/A | PREMABLE | 11 | FALSE
25 | STRUCTURE_CONCRETE | PCC | SMC, Manufactured sand (M-sand) confirming to approved gradation, admixture of approved make (FOSROC or equivalent) and dosage as per manufacturer specification |  | Each | 0 | N/A | Manufactured sand (M-sand) confirming to approved gradation, admixture of approved make (FOSROC or equivalent) and dosage as per manufacturer specification to be used in concrete works. | 12 | FALSE
26 | STRUCTURE_CONCRETE | PCC | SMC, Manufactured sand (M-sand) confirming to approved gradation, admixture of approved make (FOSROC or equivalent) and dosage as per manufacturer specification |  | Each | 0 | N/A | In case EMPLOYER insist for using river sand in lieu of M-sand, the difference in rate will only be paid. | 13 | FALSE
27 | STRUCTURE_CONCRETE | PCC | SMC, Manufactured sand (M-sand) confirming to approved gradation, admixture of approved make (FOSROC or equivalent) and dosage as per manufacturer specification |  | Each | 0 | N/A | (i) Basic price of Cement : Rs.240/Bag | 14 | FALSE
28 | STRUCTURE_CONCRETE | Plum concrete | 1:5:10, M-sand, 40mm and down size metal, boulders of 150mm (proportion 60:40 for concrete:boulder) |  | Each | 0 | N/A | Providing and laying Plum concrete 1 : 5 : 10 wherever specified using M-sand, 40 mm and down size metal and boulders of 150 mm (proportion 60 : 40 for concrete : boulder) including base preparation, levelling, all leads and lifts, rough finishing at the top surface, curing and shuttering if necessary etc., complete. | 15 | FALSE
29 | STRUCTURE_CONCRETE | PCC | 1:4:8 / M 7.5 | specified thk | Each | 0 | N/A | Providing and laying P.C.C. 1 : 4 : 8 / M 7.5 of specified thk wherever specified using M-sand, 40 mm and down size metal including, machine mixing, sub grade preparation, levelling, all leads and lifts, rough finishing at the top surface, curing and shuttering if necessary etc., | 16 | FALSE
30 | STRUCTURE_CONCRETE | PCC | 1:3:6 / M10 |  | Each | 0 | N/A | Providing and laying PCC 1 : 3 : 6 / M 10 of specified thickness wherever specified using M-sand, 20 mm & down size aggregates including, machine mixing, base preparation, compaction, levelling, leads & lift, curing & shuttering if required etc., complete. | 17 | FALSE
31 | STRUCTURE_CONCRETE | PCC | M15 (1:2:4) | specified thickness | Each | 0 | N/A | Providing and laying P.C.C. 1 : 2 : 4 / M 15 of specified thickness wherever specified using M-sand, 20 mm and downsize aggregate including cleaning, machine mixing, Compaction, levelling, all leads and lifts, rough finishing at the top surface, curing and shuttering if necessary etc., at all heights and depths as instructed. Location : Copings, bed blocks. | 18 | FALSE
32 | STRUCTURE_CONCRETE | PCC (RMC) |  |  | Each | 0 | N/A | PLAIN CEMENT CONCRETE: RMC | 19 | FALSE
33 | OTHERS | Cement, RMC PCC | M10, M15 |  | Each | 0 | N/A | (i) Basic price of Cement : Rs.240/Bag (ii) Basic price of RMC PCC M10 : Rs.3140/cum & M15 : Rs. 3330/cum | 20 | FALSE
34 | STRUCTURE_CONCRETE | PCC | M10 | specified thickness | Each | 0 | N/A | Providing & Laying P.C.C. M 10 of specified thickness, including base preparation, Compaction, levelling, all leads and lifts, curing and shuttering if necessary etc., Complete for following locations & at locations wherever directed by EIC. | 21 | FALSE
35 | STRUCTURE_CONCRETE | PCC |  |  | Each | 0 | N/A | Below Isolated Footing, Foundations (both tower & non tower areas), Tower raft, Stitch raft , Grade slab & B3 Floor lvl. | 22 | FALSE
36 | STRUCTURE_CONCRETE | PCC |  |  | Each | 0 | N/A | Below Retaining Wall raft | 23 | FALSE
37 | STRUCTURE_CONCRETE | PCC |  |  | Each | 0 | N/A | Below UG sump, STP, other water retaining structures, ramps & at locations wherever directed by EIC. | 24 | FALSE
38 | STRUCTURE_CONCRETE | Plum Concrete (RMC) | M10, 60% concrete : 40% boulders |  | Each | 0 | N/A | For Plum concrete (Material supplied by vendor @ Basic rate: RMC M10) 60% of concrete : 40% boulders. (Supply of boulders @ vendor's scope) | 25 | FALSE
39 | STRUCTURE_CONCRETE | PCC | M 15 | specified thickness | Each | 0 | N/A | Providing & Laying P.C.C. M 15 of specified thickness, including cleaning, Compaction, levelling, all leads and lifts, finishing the top surface, curing and shuttering if necessary, at all heights and depths at locations wherever specified , all as per directions of EIC etc., complete. Location : At locations wherever directed by EIC. | 26 | FALSE
40 | MEP_PLUMBING | CLSM RMC Mix | 178 Kgs Cementious material (OPC 53 grade cement - 30 Kgs & GGBSS- 148 Kgs) & Msand of 2022 Kgs |  | Each | 0 | N/A | Providing and Laying the CLSM (Controlled low strength material) RMC Mix with 178 Kgs Cementious material (i.e. OPC 53 grade cement - 30 Kgs & GGBSS- 148 Kgs) & Msand of 2022 Kgs to the required depth of filling including all leads and lifts, pumping using pipeline, wherever necessary as directed by EIC,curing and mix design as per approved by client. | 27 | FALSE
42 | STRUCTURE_CONCRETE | PCC |  |  | Each | 0 | N/A | SUB TOTAL - PCC WORKS (SMC & RMC) | 28 | FALSE
44 | STRUCTURE_CONCRETE | Reinforced Concrete |  |  | Each | 0 | N/A | REINFORCED CONCRETE WORKS. | 29 | FALSE
45 | STRUCTURE_CONCRETE | Reinforced Concrete |  |  | Each | 0 | N/A | PREAMBLE FOR R.C.C. WORKS (FOR SMC & RMC) | 30 | FALSE
46 | STRUCTURE_CONCRETE | Concrete |  |  | Each | 0 | N/A | Providing & laying all grades of concrete including pumping as specified in (IS 1200) at any depth or heights excluding the cost of steel reinforcement and Shuttering/ Formwork. The rate shall include for providing scaffolding, compacting by vibration, curing, hacking (wherever required and also to receive plaster) and providing recess in walls or columns, sleeves in slabs, construction joints, sunk slabs, cantilever slabs, making holes or cutting formwork for taking out Electrical conduits or dowels for columns, Staircase & for any other RCC members, to the required shape, size, slope shown in drawings for the following items of work. | 31 | FALSE
47 | STRUCTURE_CONCRETE | Concrete | M30 |  | Each | 0 | N/A | Please note that,Unless otherwise specified all Concrete Grades are M30 - For Towers | 32 | FALSE
48 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Tower raft / Lift core raft / shear blocks of all shapes & profile as shown in drg | 33 | FALSE
49 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Isolated / Combined Footing of all shapes & profile as shown in drg | 34 | FALSE
50 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Stitched raft | 35 | FALSE
51 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Grade slab | 36 | FALSE
52 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Retaining Wall Raft of all profile as shown in drg | 37 | FALSE
53 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Retaining walls of all profile as shown in drg | 38 | FALSE
54 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Pedestal for DG | 39 | FALSE
55 | STRUCTURE_CONCRETE | Concrete | M30 |  | Each | 0 | N/A | Columns / Shear walls (of all shapes & profiles as shown in drawing). (@ all levels) | 40 | FALSE
56 | STRUCTURE_CONCRETE | Concrete | M30 |  | Each | 0 | N/A | Tower Area | 41 | FALSE
57 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | Foundation to B2 Floor lvl | 42 | FALSE
58 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | B2 to B1 floor lvl | 43 | FALSE
59 | STRUCTURE_CONCRETE | Concrete | M30 |  | M30 | 0 | N/A | B1 to Ground floor lvl | 44 | FALSE